Identificazione

neonatale ed ospedaliera

HOW TO APPLY “LĔVIS ID BRACELET”

- Remove from the three-label kit  the bigger sticker and fill it in by the special felt pen supplied

- Take a bracelet and lay it flat with the closing clip up; be sure that the surface where the sticker will be placed is perfectly clean

- Take the bigger sticker filled in and place it on the central square of the bracelet

- Remove from the back side of the sticker the smaller edge along the transversal cross-hatching and attach the adhesive part of the sticker to the bracelet paying attention to centre the bracelet’s square

- Remove also the other edge from the back side and let the sticker adhere perfectly by passing the fingers over

- Apply the bracelet to the person’s wrist by tightening until it just adheres

- Cut off the part of the band exceeding the clip

- To take off the bracelet you only have to shear it by scissors

WARNING!

- Every “Lěvis ID Bracelet” is supplied with one three-sticker kit: the bigger sticker has to be stuck to be bracelet and the two smaller ones may be used by the structure (medical records, registers, etc.)