HOW TO APPLY “EGOSUM” BRACELET

Warning! The strict and precise procedures of drawing up and assembly of the identifying cards in their relative location guarantee a correct identification. In our packaging you will find anything you need to apply our identification system. The “Risk Management” red circle can be applied by following the figures step by step. This is an easy procedure to be followed and provided that it is respected, it gives you the certainty of a non-removable identification.

Separate the 5 cards showing the same progressive number from

the continuous paper along the transversal cross-hatching. Fill in the

gaps with all data obtained by following the advice in the warning.

Tear the bigger card out by following the cross-hatching, then put it

directly into the bracelet. The four smaller ones are adhesive, they

can be removed and stick again on the medical record or wherever

traceability is necessary.

Take the bracelet reversed.

Take off the foil just on one side lifting it up.

Lift the foil up just as much suffices for inserting the card inside

Insert the bigger card between the foil and the bracelet with the

printing and writings downwards facing.

Position again the foil the same way it was before.

Do the operation above very carefully since a correct reassembly

makes the card zone waterproof. Therefore make adhere the foil to

the bracelet by applying pressure on the perimeter border of the foil

particularly on the angles of the short sides.

Set the bracelet into a circle by pressing the foil along the bracelet

so that it will adhere perfectly.

Now fasten the bracelet to the patient’s wrist without tightening it too

much since the fastener is irreversible and it is impossible to widen it

again.